## evaluation
[Evaluation]
1. FIV Ab
Table 6.
Results of three point-of-care FIV antibody test kits in FIV-unvaccinated cats(n=239).
Confidence intervals (95%) are given in brackets
| IDEXX SNAP | Zoetis Witness | BIONOTE Anigen
True +ve | 21 | 21 | 21
False +ve | 6 | 1 | 0
True -ve | 212 | 217 | 218
False -ve | 0 | 0 | 0
Sensitivity(%) | 21/21=100 | 21/21=100 | 21/21=100
Specificity(%) | 212/218=97 | 217/218=100 | 218/218=100
*Reference: Comparative Immunology, Microbiology and Infectious Diseases 42 (2015) 43-52
2. FeLV Ag
Table 1.
Results of whole blood testing using three point-of-care(POC) FeLV antigen test kits (n=563, comprising 45 FeLV-infected cats with progressitve infections,
27 FeLV-infected cats with regressitve infections and 491 FeLV-uninfected cats)
| IDEXX SNAP | Zoetis Witness | BIONOTE Anigen
True +ve | 45 | 41 | 41
False +ve | 27 | 31 | 31
True -ve | 463 | 481 | 480
False -ve | 28 | 10 | 11
Sensitivity(%) | 45/72=63 | 41/72=57 | 41/72=57
Specificity(%) | 463/491=94 | 481/491=98 | 480/491=98
*Comparative Immunology, Microbiology and Infectious Diseases 50 (2017) 88-96
3. CHW Ag
Table 3.
Overall sensivitiy, specificity, and positive and negative likehood ratios of test results from five commercial HW kits for patient-side
testing of Dirofilaria immitis 200 positive and 50 negative necropsy verified dogs.
| BIONOTE Anigen | IDEXX SNAP | Zoetis Witness | Abaxis Vetscan | Heska Solo
Sensitivity(%) | 99.5 | 97.5 | 99 | 98.5 | 98
Specificity(%) | 94 | 94 | 94 | 94 | 94